## Emissions + Cost
GHG Emissions Factor (gCO2/kWh) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
| Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
| California (CAMX) | 296.7 | 296.7 | 296.7099 | 308.4397 | 297.1435 | 228.0452 | 216.5281 | 189.9684 | 160.2832 | 149.8247 | 165.9525 | 180.3859 | 174.7058 | 168.4807 | 161.0838 | 149.2787 | 135.032 | 127.353 | 123.2404 | 123.8275 | 120.8256 | 117.8984 | 114.6662 | 112.414 | 112.8179 | 109.2631 | 108.833 | 108.4401 | 107.2065 | 105.6889 | 103.9816 | 98.7282 | 97.1069 | 96.3246 | 96.6915 | 94.8188
[27 empty] | Replace 1 | Replace 2
PV Canopy | Unit Energy Produced (kWh/kW) | 1642.5 | 1634.2875 | 1626.075 | 1617.8625 | 1609.65 | 1601.4375 | 1593.225 | 1585.0125 | 1576.8 | 1568.5875 | 1560.375 | 1552.1625 | 1543.95 | 1535.7375 | 1527.525 | 1519.3125 | 1511.1 | 1502.8875 | 1494.675 | 1486.4625 | 1478.25 | 1470.0375 | 1461.825 | 1453.6125 | 1445.4 | 1642.5 | 1634.2875 | 1626.075 | 1617.8625 | 1609.65 | 1601.4375 | 1593.225 | 1585.0125 | 1576.8 | 1568.5875 | 1560.375
| Total Energy (MWh) | 585.6686 | 1165.4805 | 1159.6238 | 1153.7671 | 1147.9104 | 1142.0537 | 1136.197 | 1130.3403 | 1124.4837 | 1118.627 | 1112.7703 | 1106.9136 | 1101.0569 | 1095.2002 | 1089.3435 | 1083.4869 | 1077.6302 | 1071.7735 | 1065.9168 | 1060.0601 | 1054.2034 | 1048.3467 | 1042.4901 | 1036.6334 | 1030.7767 | 1171.3371 | 1165.4805 | 1159.6238 | 1153.7671 | 1147.9104 | 1142.0537 | 1136.197 | 1130.3403 | 1124.4837 | 1118.627 | 1112.7703
| Emissions reduced (tons) | 173.7679 | 345.7981 | 344.0719 | 355.8676 | 341.0941 | 260.4398 | 246.0186 | 214.729 | 180.2358 | 167.598 | 184.667 | 199.6716 | 192.3611 | 184.52 | 175.4757 | 161.7415 | 145.5145 | 136.4935 | 131.364 | 131.2646 | 127.3748 | 123.5984 | 119.5383 | 116.5321 | 116.2901 | 127.9839 | 126.8427 | 125.7497 | 123.6914 | 121.3213 | 118.7525 | 112.1747 | 109.7639 | 108.3155 | 108.1618 | 105.5116
| Emissions produced (tons) | 1183.6169 | 1183.6169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1183.6169 | 1183.6169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Emissions | 1009.849 | 837.8188 | -344.0719 | -355.8676 | -341.0941 | -260.4398 | -246.0186 | -214.729 | -180.2358 | -167.598 | -184.667 | -199.6716 | -192.3611 | -184.52 | -175.4757 | -161.7415 | -145.5145 | -136.4935 | -131.364 | -131.2646 | -127.3748 | -123.5984 | -119.5383 | -116.5321 | -116.2901
| Summed Net Emissions | 1009.849 | 1847.6678 | 1503.596 | 1147.7284 | 806.6343 | 546.1944 | 300.1758 | 85.4468 | -94.789 | -262.387 | -447.054 | -646.7256 | -839.0866 | -1023.6067 | -1199.0823 | -1360.8238 | -1506.3383 | -1642.8319 | -1774.1959 | -1905.4605 | -2032.8353 | -2156.4337 | -2275.9721 | -2392.5042 | -2508.7942 | -1453.1612 | -396.3871 | -522.1368 | -645.8281 | -767.1495 | -885.902 | -998.0767 | -1107.8406 | -1216.1561 | -1324.3178 | -1429.8294
Cost
Elect. Sales | Profits | 58566.8571 | 112065.4286 | 107213.7363 | 102569.4738 | 98123.8621 | 93868.4905 | 89795.3016 | 85896.5762 | 82164.9194 | 78593.2472 | 75174.7733 | 71902.9967 | 68771.69 | 65774.8876 | 62906.8753 | 60162.1791 | 57535.5559 | 55021.9833 | 52616.6507 | 50314.9502 | 48112.4683 | 46004.9777 | 43988.4295 | 42058.9457 | 40212.812 | 43938.8243 | 42037.6252 | 40217.6739 | 38475.533 | 36807.9094 | 35211.648 | 33683.7264 | 32221.249 | 30821.4418 | 29481.6476 | 28199.3206 | PV Canopy |  | Profit | 1749418.0682
| Costs | 499200 | 480000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187258.3077 | 180056.0651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Net CO2e (tons) | -2508.7942 | Spent | 979200
| Net | 440633.1429 | 367934.5714 | -107213.7363 | -102569.4738 | -98123.8621 | -93868.4905 | -89795.3016 | -85896.5762 | -82164.9194 | -78593.2472 | -75174.7733 | -71902.9967 | -68771.69 | -65774.8876 | -62906.8753 | -60162.1791 | -57535.5559 | -55021.9833 | -52616.6507 | -50314.9502 | -48112.4683 | -46004.9777 | -43988.4295 | -42058.9457 | -40212.812 | 143319.4833 | 138018.4399 | -40217.6739 | -38475.533 | -36807.9094 | -35211.648 | -33683.7264 | -32221.249 | -30821.4418 | -29481.6476 | -28199.3206 | Initial $/ton | 390.307
| Summed Net | 440633.1429 | 808567.7143 | 701353.978 | 598784.5042 | 500660.6421 | 406792.1516 | 316996.8501 | 231100.2739 | 148935.3545 | 70342.1073 | -4832.666 | -76735.6628 | -145507.3528 | -211282.2404 | -274189.1157 | -334351.2948 | -391886.8507 | -446908.834 | -499525.4847 | -549840.4349 | -597952.9033 | -643957.881 | -687946.3105 | -730005.2562 | -770218.0682 | -626898.5849 | -488880.145 | -529097.8189 | -567573.352 | -604381.2613 | -639592.9093 | -673276.6357 | -705497.8847 | -736319.3265 | -765800.9741 | -794000.2946 | High price $/ton | -307.0073
| Summed net (thousand USD) | 440.6331 | 808.5677 | 701.354 | 598.7845 | 500.6606 | 406.7922 | 316.9969 | 231.1003 | 148.9354 | 70.3421 | -4.8327 | -76.7357 | -145.5074 | -211.2822 | -274.1891 | -334.3513 | -391.8869 | -446.9088 | -499.5255 | -549.8404 | -597.9529 | -643.9579 | -687.9463 | -730.0053 | -770.2181
|  | 1009.849 | 837.8188 | -344.0719 | -355.8676 | -341.0941 | -260.4398 | -246.0186 | -214.729 | -180.2358 | -167.598 | -184.667 | -199.6716 | -192.3611 | -184.52 | -175.4757 | -161.7415 | -145.5145 | -136.4935 | -131.364 | -131.2646 | -127.3748 | -123.5984 | -119.5383 | -116.5321 | -116.2901

## LCI
| Price of installation | 1.4 | $/W
| VCE Price of Electricity | 0.1
| Solar PV | [5 empty] | 1 kW = 7 m^2
| PV panels per canopy | 48 |  |  |  |  | PV LCA | 52 | g CO2e / kWh
| Area per panel | 1.6236 | m^2 |  |  |  | Irradiance | 1700 | kWh/m^2/year
| Area of PV required | 4992 | m^2 |  |  |  | Performance Ratio | 0.8
| Installed Capacity | 0.71314 | MW |  |  |  | Efficiency | 0.13
| Emissions for PV | 1376.8335 | tons CO2e |  |  |  | Output | 176.8 | kWh/m^2/year
[7 empty] | Lifetime | 30 | years
solarreviews | Energy production of 1 kW (daily) | 4.5 | kWh/day |  |  |  | Total output | 5304 | kWh/m^2
| per year | 1642.5 | kWh/year |  |  |  | Emissions | 275808 | g CO2e / m^2
| Degradation rate (annual) | 0.005 | [5 empty] | 275.808 | kg CO2e / m^2
Supporting Steel
| Support beams needed | 123 |  |  |  |  | Support beam: 10 in square with 0.5 inch thickness
| Support beam area | 0.012258 | m^2 |  |  |  | Area | 19 | in^2
| Support beam height | 3.25 | m |  |  |  |  | 122.5804 | cm^2
| Volume for support beams | 4.9002 | m^3 |  |  |  |  | 0.012258 | m^2
| I beams needed | 123
| I beams area | 0.01129 | m^2 |  |  |  | I-beams: 1 foot by 1 foot, 0.5 inch thickness
| I beams length | 9.91 | m |  |  |  | Area | 17.5 | in^2
| Volume for I beams | 13.7621 | m^3 |  |  |  |  | 112.903 | cm^2
| Grid beams needed | 1476 | (12 beams between I beams to connect panels |  |  |  |  | 0.01129 | m^2
| Grid beams area | 0.0024194 | m^2
| Grid beams length | 8.23 | m |  |  |  | Grid beams: 4 in sq. 0.25 in thickness
| Volume for grid beams | 29.389 |  |  |  |  | Area | 3.75 | in^2
| Volume of steel needed (total) | 48.0512 | m^3 |  |  |  |  | 24.1935 | cm^2
| Density of steel | 8050 | kg/m^3 |  |  |  |  | 0.0024194 | m^2
| Total mass of steel | 386812.503 | kg
| CO2e per kg steel | 2.54 | kg CO2e / kg
| Emissions for steel | 982.5038 | tons CO2e
Concrete
| Concrete blocks needed | 123 |  |  |  |  | Cement Concrete (PC335 SCM0) for Minor Concrete: 2012 Grid Mix
| Protective concrete area | 0.25 | m^2 | Square base of 0.5 m | Emissions | 221700 | kg CO2e | Material and Transportation
| Concrete height | 0.75 | m |  | Volume | 647.5 | m^3 | Assume one lane-km |  | Thickness: 0.175m | 3.7m lane width
| Volume concrete needed | 23.0625 | m^3 |  | Emissions | 342.3938 | kg CO2e/m^3
| CO2e per m^3 concrete | 342.3938 | kg CO2e/m^3
| Emissions for concrete | 7.8965 | tons CO2e
| Total Emissions Produced | 2367.2338
| Total Installation Cost | 998400

## Parking Lot Info
OH: Overhang
| Address | Parking spaces (double row) | Parking spaces (single row) | Canopies Needed (1 per 3 spaces) | Primary building
1 | 600 A St, Davis | 15 |  | 5 | Yolo County Health and Human Services Agency
2 | 25 N Cottonwood St, Woodland | 17x2 |  | (5 plus two space OH)x2 | Social Services Department
3 | 137 N Cottonwood St, Woodland | 21x4 |  | 7x4 | County of Yolo Health and Human Services Agency
4 | 500 Jefferson Blvd, West Sac | 10x2, 9, 8 |  | (3 +1OH) x2, 3, 2 +2OH | Yolo County Health and Human Services Agency
5 | 140 Tony Diaz Dr, Woodland | 18, 15, 10 | 19, 10 | 6, 5, 3 +1OH | Yolo County Juvenile and Detention Centers
6? | 292 Beamer St, Woodland | 9x3, 6, 11, 16 |  | (3) x3, 2, 3 +2OH, 5 +1OH | Yolo County Department of Community Services
| 1000 Main St, Woodland | 9, 12, 18 |  | 3, 4, 6 | Yolo County Traffic Division
Total OH | 12 | Equivalent to 4 canopies
Canopies w/o OH | 2 x 2, 3 x 8, 5 x 5, 6 x 1, 7 x 4

## Beams Info
How many canopies are combined?
2 |  | Total Needed
Parking spaces | 6 | Support | 123
Support beams | 3 | I Beams | 123
I beams | 3 | Grid beams | 1476
Grid beams | 36 | Total canopies | 100
Quantity | 2 | Plus OH | 4 | canopy equivalents
|  | Total covered by PV | 104
3
Parking spaces | 9
Support beams | 4
I beams | 4
Grid beams | 48
Quantity | 9
4
Parking spaces | 12
Support beams | 5
I beams | 5
Grid beams | 60
Quantity | 1
5
Parking spaces | 15
Support beams | 6
I beams | 6
Grid beams | 72
Quantity | 5
6
Parking spaces | 18
Support beams | 7
I beams | 7
Grid beams | 84
Quantity | 2
7
Parking spaces | 21
Support beams | 8
I beams | 8
Grid beams | 96
Quantity | 4