## Experiment 1
Description: mean pixel intensity and standard deviation of square ROIs, digitally extracted from femoral bone, osteoderm and background at identical positions among scans (see main text: Table 1).
Scan # | Short description | Osteoderm |  | Bone |  | Background |  | S:N
|  | Pixels | SD | Pixels | SD | Pixels | SD
0 | Reference scan | 43609 | 972 | 44851 | 940 | 8928 | 312 | 40.3981
A1 | 225 mm | 53595 | 2535 | 51916 | 1025 | 7633 | 189 | 37.3927
A2 | 300 mm | 38414 | 941 | 34606 | 640 | 4945 | 389 | 35.8688
B1 | 50 kV | 39657 | 611 | 42000 | 1404 | 9769 | 359 | 40.6771
B2 | 85 kV | 41279 | 775 | 42437 | 934 | 10287 | 326 | 43.4181
C1 | 100 mA | 43258 | 920 | 45623 | 1199 | 11061 | 458 | 36.407
D1 | 0.1 Cu | 50901 | 790 | 52849 | 1244 | 11278 | 1092 | 39.0809
D2 | 0.5 Cu | 53701 | 1835 | 53469 | 2080 | 10843 | 1576 | 20.6171
D3 | 1.0 Cu | 52964 | 2134 | 52324 | 2763 | 14817 | 1848 | 17.2581
E1 | 500 images | 44990 | 722 | 43755 | 1833 | 9242 | 579 | 34.0486
E2 | 2000 images | 43169 | 970 | 44680 | 644 | 9371 | 404 | 45.6929
F1 | AVG 2 | 40867 | 575 | 42206 | 1289 | 8489 | 322 | 43.3932
F2 | AVG 3 | 40433 | 476 | 40876 | 1023 | 8697 | 467 | 47.8411
G1 | SKP 1 | 37968 | 631 | 38603 | 1227 | 8441 | 287 | 40.3479
H1 | AVG 2 SKP 1 | 38080 | 547 | 38880 | 1016 | 8314 | 275 | 46.0388
I1 | 250 ms | 38238 | 568 | 37840 | 1143 | 9156 | 519 | 39.356
I2 | 131 ms | 38063 | 979 | 36974 | 1302 | 9675 | 549 | 28.3001

## Experiment 2
Description: mean pixel intensity and standard deviation of square ROIs, digitally extracted from humeral bone and osteoderm in the thoracic region, as well as femoral bone and osteoderm in the abdominal region.
The resultant signal-to-noise (S:N) ratios are used to compare image quality between in vivo and post-mortem scans for two anatomical regions (i.e. thorax and abdomen) and for two scan settings (see main text for details).
|  | In vivo scan | [5 empty] | Post-mortem scan
Comparison | Location ROI | Setting 1 |  | S:N | Setting 2 |  | S:N | Setting 1 |  | S:N | Setting 2 |  | S:N
|  | Pixels | SD |  | Pixels | SD |  | Pixels | SD |  | Pixels | SD
1 | Humerus | 46653 | 2334 | 19.9884 | 32622 | 2207 | 14.7812 | 56776 | 3111 | 18.2501 | 39915 | 1012 | 39.4417
| Osteoderm thorax | 43133 | 1663 | 25.9369 | 35922 | 2239 | 16.0438 | 41832 | 1845 | 22.6732 | 33463 | 633 | 52.8641
| Femur | 40221 | 861 | 46.7143 | 39953 | 1240 | 32.2202 | 48643 | 3304 | 14.7225 | 33890 | 1866 | 18.1618
| Osteoderm abdomen | 36553 | 727 | 50.2792 | 51033 | 2562 | 19.9192 | 39616 | 3143 | 12.6045 | 37045 | 1458 | 25.4081
2 | Humerus | 52236 | 4224 | 12.3665 | 36501 | 1137 | 32.1029 | 47971 | 6614 | 7.2529 | 41391 | 739 | 56.0095
| Osteoderm thorax | 31336 | 396 | 79.1313 | 54380 | 3455 | 15.7395 | 37051 | 2062 | 17.9685 | 33010 | 2756 | 11.9775
| Femur | 31335 | 396 | 79.1288 | 46446 | 3170 | 14.6517 | 39100 | 6591 | 5.9323 | 31991 | 1363 | 23.471
| Osteoderm abdomen | 40778 | 2539 | 16.0607 | 42611 | 1756 | 24.2659 | 47636 | 1751 | 27.205 | 31539 | 1064 | 29.6419
3 | Humerus | 48008 | 2013 | 23.849 | 51556 | 970 | 53.1505 | 55404 | 3384 | 16.3723 | 46180 | 852 | 54.2019
| Osteoderm thorax | 41952 | 939 | 44.6773 | 50988 | 2882 | 17.6919 | 48191 | 2645 | 18.2197 | 46546 | 3170 | 14.6833
| Femur | 41049 | 2202 | 18.6417 | 30860 | 885 | 34.8701 | 54181 | 840 | 64.5012 | 43023 | 672 | 64.0223
| Osteoderm abdomen | 37180 | 4541 | 8.1876 | 46821 | 3118 | 15.0164 | 40025 | 4891 | 8.1834 | 46652 | 1131 | 41.2485
4 | Humerus | 34987 | 776 | 45.0863 | 51119 | 1831 | 27.9186 | 46147 | 7067 | 6.5299 | 54272 | 1195 | 45.4159
| Osteoderm thorax | 38001 | 218 | 174.3165 | 45352 | 989 | 45.8564 | 47502 | 2655 | 17.8915 | 55083 | 2269 | 24.2763
| Femur | 44478 | 1769 | 25.143 | 49512 | 989 | 50.0627 | 48945 | 2905 | 16.8485 | 50394 | 3621 | 13.9171
| Osteoderm abdomen | 42210 | 3298 | 12.7987 | 36718 | 1041 | 35.2719 | 35851 | 5960 | 6.0153 | 49940 | 1547 | 32.2818
5 | Humerus | 54214 | 2456 | 22.0741 | 47658 | 2186 | 21.8015 | 39221 | 3454 | 11.3552 | 48364 | 2850 | 16.9698
| Osteoderm thorax | 25096 | 412 | 60.9126 | 45566 | 2741 | 16.6239 | 35721 | 3669 | 9.7359 | 47222 | 3247 | 14.5433
| Femur | 36158 | 527 | 68.611 | 37712 | 666 | 56.6246 | 50450 | 3545 | 14.2313 | 58877 | 1222 | 48.1809
| Osteoderm abdomen | 31173 | 943 | 33.0573 | 33275 | 2532 | 13.1418 | 36292 | 1398 | 25.9599 | 45735 | 3232 | 14.1507