|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient ID | Lot number | Time taken out of freezer | Time of application | Start time of compression | Stop time of compression | Duration of compression (min)a | Patch size(cm) | Device used for cutting? | Patch applied according to instruction? | If no, specify |
|  |  |  |  |  |  |  |  |  |  |  |
| ENCASE-01-001 | DUR2018091211 | 08:45 | 11:28 | 11:29:50 | 11:31:56 | 2.10 | 5 x 8 | Scissors | Yes |  |
| ENCASE-01-002 | DUR2018091211 | 08:25 | 12:36 | 12:37:14 | 12:39:20 | 2.10 | 5.5 X 5.4 | Scissors | Yes |  |
| ENCASE-01-003 | DUR2018091211 | 12:30 | 14:43 | 14:44:-- | 14:46:-- | 2.00 | 7.5 x 5.0 | Scissors | Yes |  |
| ENCASE-01-005 | DUR2018091211 | 17:00 | 18:10 | 18:11:00 | 18:14:00 | 3.00 | 8 x 6 | Scissors | Yes |  |
| ENCASE-01-006 | DUR2018091211 | 10:45 | 11:12 | 11:12:38 | 11:14:40 | 2.03 | 3 x 3.5 | Scissors | Yes |  |
| ENCASE-01-007 | DUR2018091211 | 15:00 | 16:55 | 16:55:40 | 16:57:44 | 2.07 | 8 x 7 | Scissors | Yes |  |
| ENCASE-01-008 | DUR2018091211 | 08:30 | 10:43 | 10:43:15 | 10:45:18 | 2.05 | 3.5 x 3 cm | Scissors | Yes |  |
| ENCASE-01-010 | DUR2018091211 | 12:35 | 15:05 | 15:05:48 | 15:07:53 | 2.08 | 5 x 5.5 | Scissors | Yes |  |
| ENCASE-01-011 | DUR2018091711 | 08:00 | 11:40 | 11:40:45 | 11:42:49 | 2.07 | 8 X 5.5 | Scissors | Yes |  |
| ENCASE-01-012 | DUR2018100211 | 08:10 | 10:09 | 10:10:02 | 10:12:02 | 2.00 | 3.0 x 3.0 | Scissors | Yes |  |
| Patient ID | Lot number | Time taken out of freezer | Time of application | Start time of compression | Stop time of compression | Duration of compression (min)a | Patch size | Device used for cutting? | Patch applied according to instruction? | If no, specify |
|  |  |  |  |  |  |  |  |  |  |  |
| ENCASE-01-013 | DUR2018100211 | 08:15 | 11:01 | 11:01:42 | 11:03:45 | 2.05 | 6 x 4 | Scissors | Yes |  |
| ENCASE-01-014 | DUR2018100211 | 12:33 | 14:40 | 14:41:03 | 14:43:03 | 2.00 | 5 x 4 | Scissors | Yes |  |
| ENCASE-01-015 | DUR2018110711 | 08:54 | 10:19 | 10:21:-- | 10:23:-- | 2.00 | 7 cm x 4 cm | Scissors | Yes |  |
| ENCASE-01-016 | DUR2018110711 | 12:27 | 13:50 | 13:50:-- | 13:52:-- | 2.00 | 6.0 cm x 4.5 cm | Scissors | Yes |  |
| ENCASE-01-017 | DUR2018110711 | 09:40 | 11:50 | 11:51:14 | 11:53:14 | 2.00 | 7 cm x 4 cm | Scissors | Yes |  |
| ENCASE-01-018 | DUR2018110711 | 18:01 | 19:04 | 19:04:30 | 19:06:30 | 2.00 | 7 x 7 cm | Scissors | Yes |  |
| ENCASE-01-019 | dur2018110711 | 08:12 | 11:53 | 11:53:47 | 11:55:49 | 2.03 | 3.5 x 3.5 | Scissors | Yes |  |
| ENCASE-01-020 | DUR2019110711 | 10:40 | 13:22 | 13:23:17 | 13:25:55 | 2.63 | 8x6 | Scissors | Yes |  |
| ENCASE-01-022 | DUR2018110711 | 16:00 | 18:13 | 18:14:10 | 18:16:10 | 2.00 | 8 x 7.5 | Scissors | Yes |  |
| ENCASE-01-023 | DUR2018110711 | 10:45 | 11:09 | 11:09:39 | 11:11:39 | 2.00 | 4 x 4 | Scissors | Yes |  |
| ENCASE-01-024 | DUr2019012211 | 09:50 | 11:10 | 11:10:54 | 11:12:54 | 2.00 | 6 x 4 | Scissors | Yes |  |
| ENCASE-01-026 | DUR2019012211 | 10:30 | 16:15 | 16:16:09 | 16:18:09 | 2.00 | 7 x 7 cm | Scissors | Yes |  |
| Patient ID | Lot number | Time taken out of freezer | Time of application | Start time of compression | Stop time of compression | Duration of compression (min)a | Patch size | Device used for cutting? | Patch applied according to instruction? | If no, specify |
|  |  |  |  |  |  |  |  |  |  |  |
| ENCASE-01-027 | DUR2019012211 | 15:00 | 16:16 | 16:17:29 | 16:19:30 | 2.02 | 5 x 4.5 | Scissors | Yes |  |
| ENCASE-01-028 | DURR2019012211 | 12:10 | 12:35 | 12:36:23 | 12:38:24 | 2.02 | 8 x 7 | Scissors | Yes |  |
| ENCASE-02-001 | DUR2018110711 | 15:53 | 17:35 | 17:35:00 | 17:37:00 | 2.00 | 7 cm X 4,5 cm | Scissors | Yes |  |
| ENCASE-02-002 | DUR2018110711 | 08:50 | 11:29 | 11:29:35 | 11:31:35 | 2.00 | 2.5 X 3.0 cm | Scissors | Yes |  |
| ENCASE-02-003 | DUR2018110711 | 13:55 | 15:57 | 15:59:16 | 16:01:16 | 2.00 | 2.7cm X 2.7 cm | Scissors | Yes |  |
| ENCASE-02-005 | DUR2018110711 | 15:14 | 15:40 | 15:43:26 | 15:45:26 | 2.00 | unknown | Scissors | Yes |  |
| ENCASE-02-007 | DUR8110711 | 10:18 | 12:33 | 12:34:00 | 12:36:00 | 2.00 | 7 cm x 5 cm | Scissors | Yes |  |
| ENCASE-02-008 | DUR2018110711 | 15:00 | 16:01 | 16:01:16 | 16:03:26 | 2.17 | 8 cm X 5.5 cm | Scissors | Yes |  |
| ENCASE-02-009 | DUR2018110711 | 13:40 | 15:16 | 15:17:07 | 15:19:07 | 2.00 | 3 cm X 3 cm | Scissors | Yes |  |
| ENCASE-03-001 | DUR2018091711 | 07:30 | 09:30 | 09:30:40 | 09:32:40 | 2.00 | 3.5 cm, 2.5 cm | Scissors | Yes |  |
| ENCASE-03-002 | DUR-2018091711 | 07:43 | 10:42 | 10:43:35 | 10:45:35 | 2.00 | 5.5, 3.5 | Scissors | Yes |  |
| ENCASE-03-003 | 100911 | 07:25 | 10:57 | 10:58:53 | 11:00:53 | 2.00 | 6x3 cm | Scissors | Yes |  |
| Patient ID | Lot number | Time taken out of freezer | Time of application | Start time of compression | Stop time of compression | Duration of compression (min)a | Patch size | Device used for cutting? | Patch applied according to instruction? | If no, specify |
|  |  |  |  |  |  |  |  |  |  |  |
| ENCASE-03-004 | DÙR2018110711 | 07:15 | 11:08 | 11:08:46 | 11:10:46 | 2.00 | 06 cm, 4.5cm | Scissors | Yes |  |
| ENCASE-03-005 | DUR2018110711 | 07:25 | 10:26 | 10:26:48 | 10:28:48 | 2.00 | 7cm, 4.5cm | Scissors | Yes |  |
| ENCASE-03-006 | DUR2018110711 | 10:10 | 13:28 | 13:31:20 | 13:33:25 | 2.08 | 05 cm, 06 cm | Scissors | Yes |  |
| ENCASE-03-007 | 2018110711 | 09:40 | 11:22 | 11:24:20 | 11:26:20 | 2.00 | 4.5x4.5cm | Scissors | Yes |  |
| ENCASE-03-008 | DUR2018110711 | 15:50 | 16:48 | 16:50:34 | 16:52:34 | 2.00 | 8 cm x 8 cm | Scissors | Yes |  |
| ENCASE-03-009 | DUR2018110711 | 08:40 | 12:32 | 12:36:40 | 12:38:40 | 2.00 | 5x7cm | Scissors | Yes |  |